## Heavy metals
Label | Sample | Location | Replicate | Rack:Tube | Type | Date Time | Element | Element Label | Method | Element Method | Flags | Unadjusted Data | Concentration | -ves removed | Unit | Intensity | Concentration SD | Concentration % RSD | Intensity SD | Intensity % RSD | %RSE | Weight | Volume | Dilution | Internal Standard | Calibration fit | Correlation coefficient | Background correction | %RSE limit | Calibration Coefficient [1] | Calibration Coefficient [2] | Calibration Coefficient [3] | LIMS ID | Customer | Customer Ref. | Sample Date Time | Sample Site | Description | Replicates | Concentration Replicate 1 | Concentration Replicate 2 | Concentration Replicate 3 | Ajusted 1 | Ajusted 2 | Ajusted 3 | Intensity Replicate 1 | Intensity Replicate 2 | Intensity Replicate 3 | Flags Replicate 1 | Flags Replicate 2 | Flags Replicate 3
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Al 167.019 | Al | 1 | Al 167.019 Axial |  | Uncal | Uncal | - | ppm | 5.46 | - | - | 0.6 | 11.02 | 865.59 | 0.0431 | 12 | 3 | - | Linear | 0.55792 | Fitted | 10 | 5.6214 | 0.024461 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 5.53 | 4.82 | 6.02 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Al 167.019 | Al | 2 | Al 167.019 Radial |  | Uncal | Uncal | - | ppm | 6.28 | - | - | 0.4 | 6.41 | 161.62 | 0.0431 | 12 | 3 | - | Linear | 0.40002 | Fitted | 10 | 2.742 | 0.08094 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 5.86 | 6.31 | 6.67 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Al 396.152 | Al | 1 | Al 396.152 Axial | o | 64.82 | 150554.6 | 150554.6 | ppm | 2245967.73 | 453.79 | 0.3 | 6758.96 | 0.3 | 2.89 | 0.0431 | 12 | 3 | - | Linear | 0.99946 | Fitted | 10 | 3553.708 | 34593.3466 | - | [6 empty] | 3 | 150039.42 | 150729.3 | 150895.08 | 150039.42 | 150729.3 | 150895.08 | 2238294.45 | 2248569.82 | 2251038.91 | o | o | o
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Al 396.152 | Al | 2 | Al 396.152 Radial | o | 65.5 | 152124.79 | 152124.79 | ppm | 235374.87 | 418.69 | 0.28 | 645.17 | 0.27 | 2.25 | 0.0431 | 12 | 3 | - | Linear | 0.99974 | Fitted | 10 | 962.8423 | 3578.9094 | - | [6 empty] | 3 | 152450.95 | 151652.65 | 152270.77 | 152450.95 | 151652.65 | 152270.77 | 235877.46 | 234647.35 | 235599.81 | o | o | o
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | As 188.980 | As | 1 | As 188.980 Axial |  | 0.19 | 437.74 | 437.74 | ppm | 536.35 | 8.1 | 1.85 | 9.21 | 1.72 | 3.36 | 0.0431 | 12 | 3 | - | Linear | 0.99974 | Fitted | 10 | 38.7301 | 2640.2732 | - | [6 empty] | 3 | 441.22 | 428.48 | 443.52 | 441.22 | 428.48 | 443.52 | 540.3 | 525.82 | 542.92
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | As 188.980 | As | 2 | As 188.980 Radial |  | 0.21 | 484.01 | 484.01 | ppm | 129.49 | 48.6 | 10.04 | 10.94 | 8.45 | 2.99 | 0.0431 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 20.4967 | 523.035 | - | [6 empty] | 3 | 524.03 | 498.07 | 429.93 | 524.03 | 498.07 | 429.93 | 138.51 | 132.66 | 117.32
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | As 193.696 | As | 1 | As 193.696 Axial |  | 0.18 | 411.23 | 411.23 | ppm | 416.01 | 10.93 | 2.66 | 9.96 | 2.39 | 3.37 | 0.0431 | 12 | 3 | - | Linear | 0.99979 | Fitted | 10 | 41.296 | 2116.3476 | - | [6 empty] | 3 | 423.83 | 405.63 | 404.23 | 423.83 | 405.63 | 404.23 | 427.49 | 410.91 | 409.63
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | As 193.696 | As | 2 | As 193.696 Radial |  | 0.21 | 476.79 | 476.7967 | ppm | 107.36 | 36.03 | 7.56 | 7.35 | 6.84 | 2.94 | 0.0431 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 10.1432 | 473.5871 | - | [6 empty] | 3 | 482.82 | 509.43 | 438.14 | 482.82 | 509.43 | 438.14 | 108.59 | 114.02 | 99.48
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Be 234.861 | Be | 1 | Be 234.861 Axial |  | Uncal | Uncal | - | ppm | 4923.17 | - | - | 240.3 | 4.88 | 8.17 | 0.0431 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 143.5817 | 576083.5071 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 4970.79 | 4662.62 | 5136.11 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Be 234.861 | Be | 2 | Be 234.861 Radial |  | Uncal | Uncal | - | ppm | 6049.98 | - | - | 2103.59 | 34.77 | 4.63 | 0.0431 | 12 | 3 | - | Linear | 0.99993 | Fitted | 10 | 52.0365 | 146149.5128 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 8293.81 | 5733.71 | 4122.44 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Be 313.042 | Be | 2 | Be 313.042 Radial |  | 0.01 | 28.7 | 28.7033 | ppm | 46355.25 | 0.4 | 1.38 | 628.71 | 1.36 |  | 0.0431 | 12 | 3 | - | Linear | 1 | Fitted | 10 | 852.8261 | 3682130.067 | - | [6 empty] | 3 | 28.28 | 28.76 | 29.07 | 28.28 | 28.76 | 29.07 | 45685.01 | 46448.8 | 46931.95
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Be 313.042 | Be | 1 | Be 313.042 Axial |  | 0.05 | 108.2 | 108.2067 | ppm | 37140.45 | 34.89 | 32.24 | 11894.83 | 32.03 | 3.8 | 0.0431 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 246.8811 | 791922.2622 | - | [6 empty] | 3 | 145.51 | 102.72 | 76.39 | 145.51 | 102.72 | 76.39 | 49859.91 | 35269.42 | 26292.03
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cd 214.439 | Cd | 1 | Cd 214.439 Axial |  | Uncal | Uncal | - | ppm | 1703.46 | - | - | 58.66 | 3.44 | 8.99 | 0.0431 | 12 | 3 | - | Linear | 0.9996 | Fitted | 10 | 81.449 | 120190.0615 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 1635.99 | 1732.05 | 1742.35 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cd 214.439 | Cd | 2 | Cd 214.439 Radial |  | 0.04 | 103.63 | 103.6333 | ppm | 1079.15 | 33.51 | 32.34 | 344.19 | 31.89 | 3.6 | 0.0431 | 12 | 3 | - | Linear | 0.99992 | Fitted | 10 | 14.851 | 23852.3227 | - | [6 empty] | 3 | 139.84 | 97.37 | 73.69 | 139.84 | 97.37 | 73.69 | 1450.95 | 1014.86 | 771.64
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cd 361.051 | Cd | 1 | Cd 361.051 Axial | u | -0.05 | -107.8 | 0 | ppm | 103.2 | 38.73 | 35.93 | 36.21 | 35.09 | 2.25 | 0.0431 | 12 | 3 | - | Linear | 0.99974 | Fitted | 10 | 203.9974 | 2171.6829 | - | [6 empty] | 3 | -145.21 | -67.88 | -110.32 | 0 | 0 | 0 | 68.22 | 140.53 | 100.84 | u | u | u
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cd 361.051 | Cd | 2 | Cd 361.051 Radial | u | -0.21 | -489.06 | 0 | ppm | 64.8 | 128.39 | 26.25 | 21.61 | 33.35 | 1.85 | 0.0431 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 147.136 | 390.9998 | - | [6 empty] | 3 | -364.13 | -482.42 | -620.65 | 0 | 0 | 0 | 85.84 | 65.92 | 42.65 | u | u | u
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Co 228.615 | Co | 2 | Co 228.615 Radial |  | Uncal | Uncal | - | ppm | 1417.24 | - | - | 20.81 | 1.47 | 5.91 | 0.0431 | 12 | 3 | - | Linear | 0.99988 | Fitted | 10 | 12.7082 | 17048.729 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 1398.2 | 1414.06 | 1439.46 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Co 228.615 | Co | 1 | Co 228.615 Axial |  | 0.04 | 101.27 | 101.2733 | ppm | 373.18 | 27.45 | 27.1 | 35.93 | 9.63 | 3.77 | 0.0431 | 12 | 3 | - | Linear | 0.99983 | Fitted | 10 | 240.6234 | 3040.1779 | - | [6 empty] | 3 | 127.79 | 103.05 | 72.98 | 127.79 | 103.05 | 72.98 | 407.89 | 375.51 | 336.15
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Co 230.786 | Co | 2 | Co 230.786 Radial |  | Uncal | Uncal | - | ppm | 2253.27 | - | - | 28.1 | 1.25 | 5.96 | 0.0431 | 12 | 3 | - | Linear | 0.9998 | Fitted | 10 | 29.8441 | 27310.5058 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 2221.54 | 2275.05 | 2263.22 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Co 230.786 | Co | 1 | Co 230.786 Axial | u | -0.13 | -313.27 | 0 | ppm | 574.9 | 33.16 | 10.59 | 67.72 | 11.78 | 2.11 | 0.0431 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 1214.6146 | 4742.8024 | - | [6 empty] | 3 | -278.66 | -316.38 | -344.77 | 0 | 0 | 0 | 645.57 | 568.56 | 510.58 | u | u | u
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cr 267.716 | Cr | 1 | Cr 267.716 Axial |  | 0.49 | 1138.97 | 1138.97 | ppm | 35288.41 | 6.61 | 0.58 | 203.97 | 0.58 | 3.73 | 0.0431 | 12 | 3 | - | Linear | 0.9998 | Fitted | 10 | 148.8496 | 71656.5273 | - | [6 empty] | 3 | 1142.34 | 1143.22 | 1131.35 | 1142.34 | 1143.22 | 1131.35 | 35392.35 | 35419.46 | 35053.4
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cr 267.716 | Cr | 2 | Cr 267.716 Radial |  | 0.51 | 1194.04 | 1194.0367 | ppm | 6867.98 | 39.1 | 3.27 | 222.32 | 3.24 | 2.75 | 0.0431 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 79.1141 | 13205.3466 | - | [6 empty] | 3 | 1238.28 | 1179.71 | 1164.12 | 1238.28 | 1179.71 | 1164.12 | 7119.55 | 6786.52 | 6697.88
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cr 283.563 | Cr | 2 | Cr 283.563 Radial |  | 0.72 | 1661.21 | 1661.2133 | ppm | 59951.47 | 4.1 | 0.25 | 147.1 | 0.25 | 3.23 | 0.0431 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 408.9397 | 83247.9204 | - | [6 empty] | 3 | 1664.93 | 1661.9 | 1656.81 | 1664.93 | 1661.9 | 1656.81 | 60084.67 | 59976.16 | 59793.59
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cr 283.563 | Cr | 1 | Cr 283.563 Axial |  | 0.67 | 1559.82 | 1559.82 | ppm | 11174.27 | 37.4 | 2.4 | 264.5 | 2.37 | 4.56 | 0.0431 | 12 | 3 | - | Linear | 0.99983 | Fitted | 10 | 142.0259 | 16427.0682 | - | [6 empty] | 3 | 1600.87 | 1550.91 | 1527.68 | 1600.87 | 1550.91 | 1527.68 | 11464.59 | 11111.26 | 10946.97
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cu 324.754 | Cu | 2 | Cu 324.754 Radial |  | 1.37 | 3172.43 | 3172.43 | ppm | 59815.39 | 1.52 | 0.05 | 28.43 | 0.05 | 4.38 | 0.0431 | 12 | 3 | - | Linear | 0.9998 | Fitted | 10 | 471.3794 | 43446.5898 | - | [6 empty] | 3 | 3171.39 | 3171.73 | 3174.17 | 3171.39 | 3171.73 | 3174.17 | 59795.91 | 59802.25 | 59848
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cu 324.754 | Cu | 1 | Cu 324.754 Axial |  | 1.36 | 3167.42 | 3167.4167 | ppm | 8499.23 | 32.59 | 1.03 | 86.86 | 1.02 | 3.21 | 0.0431 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 56.9919 | 6190.4528 | - | [6 empty] | 3 | 3204.52 | 3154.31 | 3143.42 | 3204.52 | 3154.31 | 3143.42 | 8598.12 | 8464.29 | 8435.27
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cu 327.395 | Cu | 1 | Cu 327.395 Axial |  | 1.38 | 3206.35 | 3206.3467 | ppm | 61260.9 | 2.97 | 0.09 | 56.76 | 0.09 | 3.65 | 0.0431 | 12 | 3 | - | Linear | 0.99978 | Fitted | 10 | 82.0941 | 44316.0555 | - | [6 empty] | 3 | 3203.75 | 3209.6 | 3205.69 | 3203.75 | 3209.6 | 3205.69 | 61211.41 | 61322.85 | 61248.43
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Cu 327.395 | Cu | 2 | Cu 327.395 Radial |  | 1.39 | 3225.57 | 3225.5667 | ppm | 9215.01 | 28.42 | 0.88 | 80.64 | 0.88 | 3.68 | 0.0431 | 12 | 3 | - | Linear | 0.99978 | Fitted | 10 | 64.7162 | 6588.6955 | - | [6 empty] | 3 | 3258.15 | 3212.7 | 3205.85 | 3258.15 | 3212.7 | 3205.85 | 9307.44 | 9178.5 | 9159.08
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Fe 238.204 | Fe | 1 | Fe 238.204 Axial | o | 282.36 | 655797.55 | 655797.55 | ppm | 18576422.35 | 769.81 | 0.12 | 21789.15 | 0.12 | 3.25 | 0.0431 | 12 | 3 | - | Linear | 0.99991 | Fitted | 10 | 14446.7222 | 65739.3204 | - | [6 empty] | 3 | 654975.08 | 656500.79 | 655916.78 | 654975.08 | 656500.79 | 655916.78 | 18553142.75 | 18596327.26 | 18579797.05 | o | o | o
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Fe 238.204 | Fe | 2 | Fe 238.204 Radial |  | Uncal | Uncal | - | ppm | 4254710.75 | - | - | 16042.33 | 0.38 | 1.74 | 0.0431 | 12 | 3 | - | Linear | 0.99869 | Fitted | 10 | 3974.6213 | 12155.7791 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 4272698.2 | 4241883.59 | 4249550.45 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Fe 261.187 | Fe | 1 | Fe 261.187 Axial | o | 336.59 | 781758.61 | 781758.6133 | ppm | 3621628.51 | 2692.81 | 0.34 | 12466.18 | 0.34 | 2.8 | 0.0431 | 12 | 3 | - | Linear | 0.99988 | Fitted | 10 | 2525.3464 | 10752.2435 | - | [6 empty] | 3 | 778649.82 | 783365.63 | 783260.39 | 778649.82 | 783365.63 | 783260.39 | 3607236.56 | 3629068.08 | 3628580.9 | o | o | o
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Fe 261.187 | Fe | 2 | Fe 261.187 Radial |  | Uncal | Uncal | - | ppm | 679080.71 | - | - | 1419.34 | 0.21 | 1.57 | 0.0431 | 12 | 3 | - | Linear | 0.9987 | Fitted | 10 | 692.4658 | 1904.2052 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 678973.69 | 677717.91 | 680550.54 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Hg 184.887 | Hg | 2 | Hg 184.887 Radial |  | Uncal | Uncal | - | ppm | 101.97 | - | - | 9.29 | 9.11 | 3063.06 | 0.0431 | 12 | 3 | - | Linear | -0.33016 | Fitted | 10 | 45.1172 | 0.10468 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 112.54 | 98.27 | 95.11 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Hg 184.887 | Hg | 1 | Hg 184.887 Axial |  | Uncal | Uncal | - | ppm | 72.21 | - | - | 1.86 | 2.58 | 827.82 | 0.0431 | 12 | 3 | - | Linear | 0.32756 | Fitted | 10 | 78.2338 | 0.15891 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 74.21 | 71.89 | 70.52 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Hg 253.652 | Hg | 1 | Hg 253.652 Axial |  | 1.91 | 4446.1 | 4446.1 | ppm | 274.72 | 918.67 | 20.66 | 50.65 | 18.44 | 1.35 | 0.0431 | 12 | 3 | - | Linear | 0.99998 | Off-Peak Left | 10 | 29.5734 | 128.0611 | - | [6 empty] | 3 | 5197.93 | 4718.28 | 3422.09 | 5197.93 | 4718.28 | 3422.09 | 316.17 | 289.73 | 218.26
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Hg 253.652 | Hg | 2 | Hg 253.652 Radial | u | -4.78 | -11095.1 | 0 | ppm | -150.92 | 424.21 | 3.82 | 6.76 | 4.48 | 2.91 | 0.0431 | 12 | 3 | - | Linear | 0.9997 | Fitted | 10 | 25.8867 | 37.0113 | - | [6 empty] | 3 | -10607.42 | -11299.16 | -11378.71 | 0 | 0 | 0 | -143.15 | -154.17 | -155.44 | u | u | u
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Mn 257.610 | Mn | 2 | Mn 257.610 Radial |  | 2.89 | 6704.51 | 6704.5133 | ppm | 1067105.04 | 49.99 | 0.75 | 7951.6 | 0.75 | 7.23 | 0.0431 | 12 | 3 | - | Linear | 0.99958 | Fitted | 10 | 745.9647 | 369408.5582 | - | [6 empty] | 3 | 6647.03 | 6728.67 | 6737.84 | 6647.03 | 6728.67 | 6737.84 | 1057961.99 | 1070947.58 | 1072405.56
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Mn 257.610 | Mn | 1 | Mn 257.610 Axial |  | 2.86 | 6641.83 | 6641.8267 | ppm | 191265.16 | 87.05 | 1.31 | 2493.89 | 1.3 | 2.37 | 0.0431 | 12 | 3 | - | Linear | 0.99987 | Fitted | 10 | 994.0714 | 66535.8896 | - | [6 empty] | 3 | 6583.08 | 6741.84 | 6600.56 | 6583.08 | 6741.84 | 6600.56 | 189582.15 | 194130.3 | 190083.03
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Mn 260.568 | Mn | 1 | Mn 260.568 Axial |  | 2.74 | 6355.36 | 6355.36 | ppm | 147523.58 | 38.71 | 0.61 | 897.93 | 0.61 | 5.08 | 0.0431 | 12 | 3 | - | Linear | 0.99978 | Fitted | 10 | 117.1546 | 53870.0225 | - | [6 empty] | 3 | 6358.72 | 6392.28 | 6315.08 | 6358.72 | 6392.28 | 6315.08 | 147601.46 | 148380.03 | 146589.24
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Mn 260.568 | Mn | 2 | Mn 260.568 Radial |  | 2.44 | 5675.7 | 5675.7033 | ppm | 27031.7 | 45.91 | 0.81 | 200.47 | 0.74 | 2.68 | 0.0431 | 12 | 3 | - | Linear | 0.99976 | Fitted | 10 | 2248.5168 | 10141.6382 | - | [6 empty] | 3 | 5726.01 | 5665.03 | 5636.07 | 5726.01 | 5665.03 | 5636.07 | 27251.37 | 26985.08 | 26858.65
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Ni 216.555 | Ni | 1 | Ni 216.555 Axial |  | 0.29 | 666.78 | 666.7767 | ppm | 5941.78 | 2.38 | 0.36 | 21.05 | 0.35 | 3.9 | 0.0431 | 12 | 3 | - | Linear | 0.99986 | Fitted | 10 | 39.3429 | 20559.9337 | - | [6 empty] | 3 | 665.22 | 669.51 | 665.6 | 665.22 | 669.51 | 665.6 | 5927.99 | 5966.01 | 5931.34
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Ni 216.555 | Ni | 2 | Ni 216.555 Radial |  | 0.2 | 464.4 | 464.4067 | ppm | 1273.1 | 30.78 | 6.63 | 54.05 | 4.25 | 3.77 | 0.0431 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 457.4515 | 4079.2059 | - | [6 empty] | 3 | 497.04 | 460.28 | 435.9 | 497.04 | 460.28 | 435.9 | 1330.41 | 1265.85 | 1223.03
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Ni 231.604 | Ni | 2 | Ni 231.604 Radial |  | 0.24 | 564.94 | 564.9433 | ppm | 5256.34 | 1.74 | 0.31 | 15.98 | 0.3 | 5.51 | 0.0431 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 53.3177 | 21390.6472 | - | [6 empty] | 3 | 565.99 | 562.94 | 565.9 | 565.99 | 562.94 | 565.9 | 5265.97 | 5237.88 | 5265.15
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Ni 231.604 | Ni | 1 | Ni 231.604 Axial |  | 0.29 | 664.92 | 664.92 | ppm | 1135.45 | 32.2 | 4.84 | 53.4 | 4.7 | 3.89 | 0.0431 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 32.8479 | 3851.4429 | - | [6 empty] | 3 | 699.89 | 658.37 | 636.5 | 699.89 | 658.37 | 636.5 | 1193.45 | 1124.59 | 1088.32
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Pb 182.143 | Pb | 2 | Pb 182.143 Radial |  | 3.92 | 9103.41 | 9103.4067 | ppm | 2136.6 | 48.75 | 0.54 | 11.09 | 0.52 | 3.84 | 0.0431 | 12 | 3 | - | Linear | 0.99905 | Fitted | 10 | 64.873 | 528.5649 | - | [6 empty] | 3 | 9047.15 | 9129.97 | 9133.1 | 9047.15 | 9129.97 | 9133.1 | 2123.79 | 2142.64 | 2143.35
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Pb 182.143 | Pb | 1 | Pb 182.143 Axial |  | Uncal | Uncal | - | ppm | 194.85 | - | - | 2.51 | 1.29 | 5.65 | 0.0431 | 12 | 3 | - | Linear | 0.99877 | Fitted | 10 | 45.6068 | 40.2136 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 191.97 | 196 | 196.59 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Pb 220.353 | Pb | 1 | Pb 220.353 Axial |  | 3.06 | 7104.27 | 7104.2667 | ppm | 19524.23 | 19.56 | 0.28 | 53.65 | 0.27 | 3.42 | 0.0431 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 35.9128 | 6371.2688 | - | [6 empty] | 3 | 7100.9 | 7125.29 | 7086.61 | 7100.9 | 7125.29 | 7086.61 | 19514.99 | 19581.91 | 19475.81
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Pb 220.353 | Pb | 2 | Pb 220.353 Radial |  | 2.96 | 6881.68 | 6881.6767 | ppm | 3592.3 | 44.75 | 0.65 | 22.47 | 0.63 | 3.72 | 0.0431 | 12 | 3 | - | Linear | 0.9999 | Fitted | 10 | 136.2308 | 1166.4306 | - | [6 empty] | 3 | 6933.34 | 6856.21 | 6855.48 | 6933.34 | 6856.21 | 6855.48 | 3618.25 | 3579.51 | 3579.15
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Se 196.026 | Se | 1 | Se 196.026 Axial | u | -0.01 | -23.87 | 0 | ppm | 45.22 | 8.36 | 35.02 | 8.86 | 19.6 | 2.89 | 0.0431 | 12 | 3 | - | Linear | 0.99972 | Fitted | 10 | 70.535 | 2462.9554 | - | [6 empty] | 3 | -29.43 | -14.26 | -27.92 | 0 | 0 | 0 | 39.33 | 55.42 | 40.93 | u | u | u
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Se 196.026 | Se | 2 | Se 196.026 Radial | u | 0.02 | 35.52 | 49.7567 | ppm | 30.37 | 98.91 | 278.42 | 25.75 | 84.79 | 2.84 | 0.0431 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 21.1193 | 604.678 | - | [6 empty] | 3 | 149.27 | -12.47 | -30.23 | 149.27 | 0 | 0 | 59.98 | 17.87 | 13.25 |  | u | u
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Se 206.279 | Se | 2 | Se 206.279 Radial |  | 0.14 | 335.01 | 335.0067 | ppm | 27.52 | 38.05 | 11.36 | 3.05 | 11.07 | 2.83 | 0.0431 | 12 | 3 | - | Linear | 0.99966 | Fitted | 10 | 0.69062 | 185.9919 | - | [6 empty] | 3 | 321.9 | 377.88 | 305.24 | 321.9 | 377.88 | 305.24 | 26.47 | 30.95 | 25.13
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Se 206.279 | Se | 1 | Se 206.279 Axial | u | 0 | -0.06 | 48.61 | ppm | 14.72 | 126.99 | 211359.12 | 2.89 | 19.61 | 2.91 | 0.0431 | 12 | 3 | - | Linear | 0.99961 | Fitted | 10 | 14.7253 | 52.8209 | - | [6 empty] | 3 | 60.64 | -146.01 | 85.19 | 60.64 | 0 | 85.19 | 16.1 | 11.4 | 16.66 |  | u
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | V 292.401 | V | 2 | V 292.401 Radial |  | 0.39 | 910.23 | 910.2333 | ppm | 13788.47 | 1.93 | 0.21 | 29.13 | 0.21 | 4.2 | 0.0431 | 12 | 3 | - | Linear | 0.99983 | Fitted | 10 | 56.1261 | 35039.869 | - | [6 empty] | 3 | 908.09 | 911.84 | 910.77 | 908.09 | 911.84 | 910.77 | 13756.16 | 13812.72 | 13796.52
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | V 292.401 | V | 1 | V 292.401 Axial |  | 0.38 | 878.2 | 878.1967 | ppm | 2626.74 | 36.2 | 4.12 | 97.52 | 3.71 | 4.45 | 0.0431 | 12 | 3 | - | Linear | 0.99982 | Fitted | 10 | 261.0614 | 6256.552 | - | [6 empty] | 3 | 916.46 | 873.64 | 844.49 | 916.46 | 873.64 | 844.49 | 2729.82 | 2614.47 | 2535.94
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | V 309.310 | V | 1 | V 309.310 Axial |  | 0.02 | 46.58 | 46.5767 | ppm | 1002.81 | 1.28 | 2.75 | 26.67 | 2.66 | 3.31 | 0.0431 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 32.0803 | 48407.6358 | - | [6 empty] | 3 | 45.1 | 47.28 | 47.35 | 45.1 | 47.28 | 47.35 | 972.03 | 1017.44 | 1018.97
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | V 309.310 | V | 2 | V 309.310 Radial |  | 0.31 | 724.25 | 724.2533 | ppm | 2798.83 | 22.98 | 3.17 | 87.5 | 3.13 | 3.56 | 0.0431 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 41.2282 | 8843.2518 | - | [6 empty] | 3 | 747.16 | 724.4 | 701.2 | 747.16 | 724.4 | 701.2 | 2886.03 | 2799.4 | 2711.04
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Zn 202.548 | Zn | 2 | Zn 202.548 Radial |  | Uncal | Uncal | - | ppm | 310281.42 | - | - | 884.15 | 0.28 | 7.96 | 0.0431 | 12 | 3 | - | Linear | 0.9994 | Fitted | 10 | 884.6162 | 152744.4764 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 310523.94 | 311019 | 309301.31 | Uncal | Uncal | Uncal
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Zn 202.548 | Zn | 1 | Zn 202.548 Axial |  | 1.82 | 4218.74 | 4218.7433 | ppm | 66473.05 | 35.02 | 0.83 | 533.4 | 0.8 | 4.15 | 0.0431 | 12 | 3 | - | Linear | 0.99991 | Fitted | 10 | 2223.8933 | 35371.6435 | - | [6 empty] | 3 | 4257.79 | 4208.35 | 4190.09 | 4257.79 | 4208.35 | 4190.09 | 67067.7 | 66314.71 | 66036.75
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Zn 334.502 | Zn | 1 | Zn 334.502 Axial |  | 1.87 | 4335.7 | 4335.7033 | ppm | 7423.65 | 42.91 | 0.99 | 71.54 | 0.96 | 3.44 | 0.0431 | 12 | 3 | - | Linear | 0.9997 | Fitted | 10 | 195.8894 | 3871.8157 | - | [6 empty] | 3 | 4322.11 | 4383.77 | 4301.23 | 4322.11 | 4383.77 | 4301.23 | 7400.99 | 7503.77 | 7366.18
Sol 18 1-1 | 18 | 1 | 1 | 1:48 | Sample | 2025-01-22 13:29 | Zn 334.502 | Zn | 2 | Zn 334.502 Radial |  | 1.71 | 3970.54 | 3970.5433 | ppm | 1926.9 | 107.1 | 2.7 | 40.75 | 2.11 | 3.51 | 0.0431 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 416.1387 | 883.7232 | - | [6 empty] | 3 | 3848.04 | 4017.11 | 4046.48 | 3848.04 | 4017.11 | 4046.48 | 1880.29 | 1944.62 | 1955.79
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Al 167.019 | Al | 1 | Al 167.019 Axial |  | Uncal | Uncal | - | ppm | 7.58 | - | - | 2.05 | 27.03 | 865.59 | 0.0369 | 12 | 3 | - | Linear | 0.55792 | Fitted | 10 | 5.6214 | 0.024461 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 9.84 | 5.84 | 7.06 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Al 167.019 | Al | 2 | Al 167.019 Radial |  | Uncal | Uncal | - | ppm | 6.47 | - | - | 1.62 | 25.09 | 161.62 | 0.0369 | 12 | 3 | - | Linear | 0.40002 | Fitted | 10 | 2.742 | 0.08094 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 7.24 | 7.56 | 4.6 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Al 396.152 | Al | 1 | Al 396.152 Axial |  | 7.13 | 19294.23 | 19294.2333 | ppm | 250140.18 | 46.09 | 0.24 | 589.02 | 0.24 | 2.89 | 0.0369 | 12 | 3 | - | Linear | 0.99946 | Fitted | 10 | 3553.708 | 34593.3466 | - | [6 empty] | 3 | 19322.88 | 19241.07 | 19318.75 | 19322.88 | 19241.07 | 19318.75 | 250506.29 | 249460.71 | 250453.52
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Al 396.152 | Al | 2 | Al 396.152 Radial |  | 7.34 | 19857.7 | 19857.6967 | ppm | 27218.85 | 517.8 | 2.61 | 684.64 | 2.52 | 2.25 | 0.0369 | 12 | 3 | - | Linear | 0.99974 | Fitted | 10 | 962.8423 | 3578.9094 | - | [6 empty] | 3 | 20440.72 | 19680.98 | 19451.39 | 20440.72 | 19680.98 | 19451.39 | 27989.73 | 26985.19 | 26681.63
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | As 188.980 | As | 1 | As 188.980 Axial | u | -0.01 | -26.79 | 0 | ppm | 12.59 | 6.07 | 22.65 | 5.92 | 47 | 3.36 | 0.0369 | 12 | 3 | - | Linear | 0.99974 | Fitted | 10 | 38.7301 | 2640.2732 | - | [6 empty] | 3 | -20.4 | -27.5 | -32.48 | 0 | 0 | 0 | 18.83 | 11.9 | 7.05 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | As 188.980 | As | 2 | As 188.980 Radial | u | 0 | 9.1 | 16.3933 | ppm | 22.26 | 27.02 | 296.9 | 5.22 | 23.46 | 2.99 | 0.0369 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 20.4967 | 523.035 | - | [6 empty] | 3 | 27.87 | 21.31 | -21.87 | 27.87 | 21.31 | 0 | 25.88 | 24.61 | 16.27 |  |  | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | As 193.696 | As | 1 | As 193.696 Axial | u | -0.01 | -29.54 | 0 | ppm | 18.2 | 10.37 | 35.11 | 8.11 | 44.55 | 3.37 | 0.0369 | 12 | 3 | - | Linear | 0.99979 | Fitted | 10 | 41.296 | 2116.3476 | - | [6 empty] | 3 | -30.15 | -18.87 | -39.59 | 0 | 0 | 0 | 17.72 | 26.54 | 10.34 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | As 193.696 | As | 2 | As 193.696 Radial | u | 0 | 3.83 | 10.4867 | ppm | 10.81 | 21.6 | 564.08 | 3.78 | 34.95 | 2.94 | 0.0369 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 10.1432 | 473.5871 | - | [6 empty] | 3 | -19.98 | 22.17 | 9.29 | 0 | 22.17 | 9.29 | 6.65 | 14.02 | 11.77 | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Be 234.861 | Be | 1 | Be 234.861 Axial |  | Uncal | Uncal | - | ppm | 151.94 | - | - | 12.42 | 8.18 | 8.17 | 0.0369 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 143.5817 | 576083.5071 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 137.62 | 159.77 | 158.43 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Be 234.861 | Be | 2 | Be 234.861 Radial |  | Uncal | Uncal | - | ppm | 75.77 | - | - | 19.49 | 25.73 | 4.63 | 0.0369 | 12 | 3 | - | Linear | 0.99993 | Fitted | 10 | 52.0365 | 146149.5128 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 57.88 | 96.55 | 72.87 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Be 313.042 | Be | 2 | Be 313.042 Radial | u | 0 | -0.29 | 0 | ppm | 463.83 | 0.02 | 6.01 | 23.39 | 5.04 |  | 0.0369 | 12 | 3 | - | Linear | 1 | Fitted | 10 | 852.8261 | 3682130.067 | - | [6 empty] | 3 | -0.27 | -0.3 | -0.29 | 0 | 0 | 0 | 488.71 | 442.27 | 460.52 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Be 313.042 | Be | 1 | Be 313.042 Axial |  | 0 | 0.62 | 0.61333 | ppm | 426.91 | 0.26 | 41.46 | 74.64 | 17.48 | 3.8 | 0.0369 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 246.8811 | 791922.2622 | - | [6 empty] | 3 | 0.87 | 0.61 | 0.36 | 0.87 | 0.61 | 0.36 | 502.67 | 424.62 | 353.45
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cd 214.439 | Cd | 1 | Cd 214.439 Axial |  | Uncal | Uncal | - | ppm | 379.7 | - | - | 8.13 | 2.14 | 8.99 | 0.0369 | 12 | 3 | - | Linear | 0.9996 | Fitted | 10 | 81.449 | 120190.0615 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 370.37 | 383.41 | 385.32 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cd 214.439 | Cd | 2 | Cd 214.439 Radial |  | 0 | 6.62 | 6.6233 | ppm | 73.2 | 0.66 | 9.91 | 5.78 | 7.9 | 3.6 | 0.0369 | 12 | 3 | - | Linear | 0.99992 | Fitted | 10 | 14.851 | 23852.3227 | - | [6 empty] | 3 | 6.93 | 5.87 | 7.07 | 6.93 | 5.87 | 7.07 | 75.91 | 66.56 | 77.13
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cd 361.051 | Cd | 1 | Cd 361.051 Axial | u | -0.07 | -184.45 | 0 | ppm | 56.01 | 31.01 | 16.81 | 24.88 | 44.41 | 2.25 | 0.0369 | 12 | 3 | - | Linear | 0.99974 | Fitted | 10 | 203.9974 | 2171.6829 | - | [6 empty] | 3 | -181.92 | -154.78 | -216.64 | 0 | 0 | 0 | 58.04 | 79.81 | 30.18 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cd 361.051 | Cd | 2 | Cd 361.051 Radial | u | -0.3 | -813.44 | 0 | ppm | 29.63 | 101.89 | 12.53 | 14.72 | 49.67 | 1.85 | 0.0369 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 147.136 | 390.9998 | - | [6 empty] | 3 | -696.19 | -863.63 | -880.5 | 0 | 0 | 0 | 46.57 | 22.38 | 19.94 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Co 228.615 | Co | 2 | Co 228.615 Radial |  | Uncal | Uncal | - | ppm | 8.24 | - | - | 10.34 | > 100.00 | 5.91 | 0.0369 | 12 | 3 | - | Linear | 0.99988 | Fitted | 10 | 12.7082 | 17048.729 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | -2.83 | 9.91 | 17.64 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Co 228.615 | Co | 1 | Co 228.615 Axial | u | -0.08 | -204.17 | 0 | ppm | 11.31 | 1.9 | 0.93 | 2.13 | 18.87 | 3.77 | 0.0369 | 12 | 3 | - | Linear | 0.99983 | Fitted | 10 | 240.6234 | 3040.1779 | - | [6 empty] | 3 | -202.14 | -204.45 | -205.91 | 0 | 0 | 0 | 13.58 | 10.99 | 9.35 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Co 230.786 | Co | 2 | Co 230.786 Radial |  | Uncal | Uncal | - | ppm | 40.15 | - | - | 14.13 | 35.2 | 5.96 | 0.0369 | 12 | 3 | - | Linear | 0.9998 | Fitted | 10 | 29.8441 | 27310.5058 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 56.4 | 33.35 | 30.71 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Co 230.786 | Co | 1 | Co 230.786 Axial | u | -0.25 | -676.69 | 0 | ppm | 28.92 | 2.58 | 0.38 | 4.52 | 15.62 | 2.11 | 0.0369 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 1214.6146 | 4742.8024 | - | [6 empty] | 3 | -679.63 | -674.83 | -675.6 | 0 | 0 | 0 | 23.76 | 32.17 | 30.83 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cr 267.716 | Cr | 1 | Cr 267.716 Axial |  | 0 | 9.9 | 9.9 | ppm | 410.88 | 0.64 | 6.47 | 16.95 | 4.13 | 3.73 | 0.0369 | 12 | 3 | - | Linear | 0.9998 | Fitted | 10 | 148.8496 | 71656.5273 | - | [6 empty] | 3 | 10.26 | 9.16 | 10.28 | 10.26 | 9.16 | 10.28 | 420.36 | 391.31 | 420.98
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cr 267.716 | Cr | 2 | Cr 267.716 Radial |  | 0 | 11.39 | 11.3867 | ppm | 134.67 | 2.14 | 18.79 | 10.44 | 7.75 | 2.75 | 0.0369 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 79.1141 | 13205.3466 | - | [6 empty] | 3 | 13.78 | 9.65 | 10.73 | 13.78 | 9.65 | 10.73 | 146.33 | 126.2 | 131.49
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cr 283.563 | Cr | 2 | Cr 283.563 Radial |  | 0 | 11.84 | 11.8433 | ppm | 773.1 | 1.34 | 11.35 | 41.34 | 5.35 | 3.23 | 0.0369 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 408.9397 | 83247.9204 | - | [6 empty] | 3 | 12.59 | 10.29 | 12.65 | 12.59 | 10.29 | 12.65 | 796.08 | 725.38 | 797.85
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cr 283.563 | Cr | 1 | Cr 283.563 Axial |  | 0.01 | 13.88 | 13.88 | ppm | 226.27 | 10.62 | 76.52 | 64.46 | 28.49 | 4.56 | 0.0369 | 12 | 3 | - | Linear | 0.99983 | Fitted | 10 | 142.0259 | 16427.0682 | - | [6 empty] | 3 | 23.8 | 15.16 | 2.68 | 23.8 | 15.16 | 2.68 | 286.48 | 234.06 | 158.26
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cu 324.754 | Cu | 2 | Cu 324.754 Radial |  | 0.01 | 18.19 | 18.19 | ppm | 763.35 | 0.87 | 4.8 | 14.02 | 1.84 | 4.38 | 0.0369 | 12 | 3 | - | Linear | 0.9998 | Fitted | 10 | 471.3794 | 43446.5898 | - | [6 empty] | 3 | 18.59 | 17.19 | 18.79 | 18.59 | 17.19 | 18.79 | 769.83 | 747.27 | 772.96
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cu 324.754 | Cu | 1 | Cu 324.754 Axial | u | 0 | 6.26 | 7.4267 | ppm | 71.31 | 12.75 | 203.72 | 29.16 | 40.9 | 3.21 | 0.0369 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 56.9919 | 6190.4528 | - | [6 empty] | 3 | 20.69 | 1.59 | -3.5 | 20.69 | 1.59 | 0 | 104.3 | 60.63 | 48.98 |  |  | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cu 327.395 | Cu | 1 | Cu 327.395 Axial |  | 0.01 | 13.98 | 13.9833 | ppm | 311.02 | 1.7 | 12.13 | 27.77 | 8.93 | 3.65 | 0.0369 | 12 | 3 | - | Linear | 0.99978 | Fitted | 10 | 82.0941 | 44316.0555 | - | [6 empty] | 3 | 12.15 | 15.49 | 14.31 | 12.15 | 15.49 | 14.31 | 280.96 | 335.71 | 316.41
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Cu 327.395 | Cu | 2 | Cu 327.395 Radial |  | 0.01 | 25.89 | 25.8933 | ppm | 127.75 | 18.49 | 71.39 | 45 | 35.23 | 3.68 | 0.0369 | 12 | 3 | - | Linear | 0.99978 | Fitted | 10 | 64.7162 | 6588.6955 | - | [6 empty] | 3 | 42.58 | 29.08 | 6.02 | 42.58 | 29.08 | 6.02 | 168.37 | 135.5 | 79.38
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Fe 238.204 | Fe | 1 | Fe 238.204 Axial |  | 1.57 | 4237.15 | 4237.1433 | ppm | 117354.43 | 20.99 | 0.5 | 509.79 | 0.43 | 3.25 | 0.0369 | 12 | 3 | - | Linear | 0.99991 | Fitted | 10 | 14446.7222 | 65739.3204 | - | [6 empty] | 3 | 4261.14 | 4222.2 | 4228.09 | 4261.14 | 4222.2 | 4228.09 | 117937.26 | 116991.49 | 117134.55
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Fe 238.204 | Fe | 2 | Fe 238.204 Radial |  | Uncal | Uncal | - | ppm | 53454.88 | - | - | 15411.54 | 28.83 | 1.74 | 0.0369 | 12 | 3 | - | Linear | 0.99869 | Fitted | 10 | 3974.6213 | 12155.7791 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 70133.62 | 50489.55 | 39741.47 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Fe 261.187 | Fe | 1 | Fe 261.187 Axial |  | 1.6 | 4324.78 | 4324.78 | ppm | 19704.91 | 26.33 | 0.61 | 104.61 | 0.53 | 2.8 | 0.0369 | 12 | 3 | - | Linear | 0.99988 | Fitted | 10 | 2525.3464 | 10752.2435 | - | [6 empty] | 3 | 4351.37 | 4298.7 | 4324.27 | 4351.37 | 4298.7 | 4324.27 | 19810.52 | 19601.33 | 19702.87
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Fe 261.187 | Fe | 2 | Fe 261.187 Radial |  | Uncal | Uncal | - | ppm | 8420.98 | - | - | 2402.64 | 28.53 | 1.57 | 0.0369 | 12 | 3 | - | Linear | 0.9987 | Fitted | 10 | 692.4658 | 1904.2052 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 11022.26 | 7955.59 | 6285.07 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Hg 184.887 | Hg | 2 | Hg 184.887 Radial |  | Uncal | Uncal | - | ppm | 88.87 | - | - | 2.99 | 3.37 | 3063.06 | 0.0369 | 12 | 3 | - | Linear | -0.33016 | Fitted | 10 | 45.1172 | 0.10468 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 90.37 | 85.42 | 90.81 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Hg 184.887 | Hg | 1 | Hg 184.887 Axial |  | Uncal | Uncal | - | ppm | 68.04 | - | - | 1.01 | 1.49 | 827.82 | 0.0369 | 12 | 3 | - | Linear | 0.32756 | Fitted | 10 | 78.2338 | 0.15891 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 68.75 | 66.88 | 68.5 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Hg 253.652 | Hg | 1 | Hg 253.652 Axial | u | -0.07 | -202.46 | 104.2133 | ppm | 19.99 | 451.61 | 223.06 | 21.37 | > 100.00 | 1.35 | 0.0369 | 12 | 3 | - | Linear | 0.99998 | Off-Peak Left | 10 | 29.5734 | 128.0611 | - | [6 empty] | 3 | 312.64 | -389.6 | -530.43 | 312.64 | 0 | 0 | 44.36 | 11.14 | 4.48 |  | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Hg 253.652 | Hg | 2 | Hg 253.652 Radial | u | 0.05 | 124.57 | 364.8033 | ppm | 27.59 | 835.02 | 670.31 | 11.42 | 41.38 | 2.91 | 0.0369 | 12 | 3 | - | Linear | 0.9997 | Fitted | 10 | 25.8867 | 37.0113 | - | [6 empty] | 3 | 948.95 | 145.46 | -720.69 | 948.95 | 145.46 | 0 | 38.86 | 27.88 | 16.03 |  |  | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Mn 257.610 | Mn | 2 | Mn 257.610 Radial |  | 0.03 | 69.36 | 69.3633 | ppm | 10212.58 | 0.32 | 0.47 | 44.04 | 0.43 | 7.23 | 0.0369 | 12 | 3 | - | Linear | 0.99958 | Fitted | 10 | 745.9647 | 369408.5582 | - | [6 empty] | 3 | 69.56 | 68.99 | 69.54 | 69.56 | 68.99 | 69.54 | 10238.84 | 10161.73 | 10237.16
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Mn 257.610 | Mn | 1 | Mn 257.610 Axial |  | 0.03 | 80.32 | 80.3233 | ppm | 2968.49 | 25.29 | 31.49 | 621.73 | 20.94 | 2.37 | 0.0369 | 12 | 3 | - | Linear | 0.99987 | Fitted | 10 | 994.0714 | 66535.8896 | - | [6 empty] | 3 | 107.67 | 75.53 | 57.77 | 107.67 | 75.53 | 57.77 | 3640.67 | 2850.74 | 2414.06
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Mn 260.568 | Mn | 1 | Mn 260.568 Axial |  | 0.02 | 65.26 | 65.2567 | ppm | 1415.88 | 0.89 | 1.36 | 17.72 | 1.25 | 5.08 | 0.0369 | 12 | 3 | - | Linear | 0.99978 | Fitted | 10 | 117.1546 | 53870.0225 | - | [6 empty] | 3 | 65.64 | 64.24 | 65.89 | 65.64 | 64.24 | 65.89 | 1423.58 | 1395.61 | 1428.44
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Mn 260.568 | Mn | 2 | Mn 260.568 Radial | u | -0.18 | -488.32 | 0 | ppm | 418.91 | 24.09 | 4.93 | 90.24 | 21.54 | 2.68 | 0.0369 | 12 | 3 | - | Linear | 0.99976 | Fitted | 10 | 2248.5168 | 10141.6382 | - | [6 empty] | 3 | -462.1 | -493.39 | -509.46 | 0 | 0 | 0 | 517.15 | 399.88 | 339.69 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Ni 216.555 | Ni | 1 | Ni 216.555 Axial |  | 0 | 6.92 | 6.9167 | ppm | 91.89 | 0.61 | 8.85 | 4.65 | 5.06 | 3.9 | 0.0369 | 12 | 3 | - | Linear | 0.99986 | Fitted | 10 | 39.3429 | 20559.9337 | - | [6 empty] | 3 | 6.78 | 6.38 | 7.59 | 6.78 | 6.38 | 7.59 | 90.88 | 87.83 | 96.96
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Ni 216.555 | Ni | 2 | Ni 216.555 Radial | u | -0.1 | -275.66 | 0 | ppm | 42.02 | 14.19 | 5.15 | 21.39 | 50.9 | 3.77 | 0.0369 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 457.4515 | 4079.2059 | - | [6 empty] | 3 | -259.46 | -281.62 | -285.9 | 0 | 0 | 0 | 66.44 | 33.04 | 26.6 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Ni 231.604 | Ni | 2 | Ni 231.604 Radial |  | 0 | 9.92 | 9.9167 | ppm | 131.69 | 2.26 | 22.77 | 17.85 | 13.55 | 5.51 | 0.0369 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 53.3177 | 21390.6472 | - | [6 empty] | 3 | 9.73 | 12.26 | 7.76 | 9.73 | 12.26 | 7.76 | 130.23 | 150.22 | 114.62
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Ni 231.604 | Ni | 1 | Ni 231.604 Axial | u | 0 | -2 | 0.83333 | ppm | 30 | 5.72 | 285.91 | 8.13 | 27.11 | 3.89 | 0.0369 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 32.8479 | 3851.4429 | - | [6 empty] | 3 | 0.28 | 2.22 | -8.5 | 0.28 | 2.22 | 0 | 33.25 | 36.01 | 20.75 |  |  | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Pb 182.143 | Pb | 2 | Pb 182.143 Radial |  | 0.11 | 309.14 | 309.1433 | ppm | 125.24 | 40 | 12.94 | 7.81 | 6.24 | 3.84 | 0.0369 | 12 | 3 | - | Linear | 0.99905 | Fitted | 10 | 64.873 | 528.5649 | - | [6 empty] | 3 | 277.27 | 354.03 | 296.13 | 277.27 | 354.03 | 296.13 | 119.02 | 134.01 | 122.7
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Pb 182.143 | Pb | 1 | Pb 182.143 Axial |  | Uncal | Uncal | - | ppm | 46.29 | - | - | 3.79 | 8.19 | 5.65 | 0.0369 | 12 | 3 | - | Linear | 0.99877 | Fitted | 10 | 45.6068 | 40.2136 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 49.19 | 42 | 47.68 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Pb 220.353 | Pb | 1 | Pb 220.353 Axial |  | 0.03 | 88.11 | 88.11 | ppm | 243.3 | 10.25 | 11.64 | 24.14 | 9.92 | 3.42 | 0.0369 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 35.9128 | 6371.2688 | - | [6 empty] | 3 | 82.64 | 99.94 | 81.75 | 82.64 | 99.94 | 81.75 | 230.42 | 271.15 | 228.34
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Pb 220.353 | Pb | 2 | Pb 220.353 Radial | u | -0.05 | -122.96 | 0 | ppm | 83.25 | 37.11 | 30.18 | 15.99 | 19.21 | 3.72 | 0.0369 | 12 | 3 | - | Linear | 0.9999 | Fitted | 10 | 136.2308 | 1166.4306 | - | [6 empty] | 3 | -82.75 | -130.23 | -155.89 | 0 | 0 | 0 | 100.57 | 80.11 | 69.05 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Se 196.026 | Se | 1 | Se 196.026 Axial | u | -0.01 | -35.33 | 0 | ppm | 38.39 | 8.05 | 22.78 | 7.32 | 19.08 | 2.89 | 0.0369 | 12 | 3 | - | Linear | 0.99972 | Fitted | 10 | 70.535 | 2462.9554 | - | [6 empty] | 3 | -27.98 | -34.08 | -43.93 | 0 | 0 | 0 | 45.07 | 39.52 | 30.56 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Se 196.026 | Se | 2 | Se 196.026 Radial | u | 0 | -2.17 | 6.89 | ppm | 20.64 | 22.04 | 1017.49 | 4.92 | 23.86 | 2.84 | 0.0369 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 21.1193 | 604.678 | - | [6 empty] | 3 | -3.85 | -23.32 | 20.67 | 0 | 0 | 20.67 | 20.26 | 15.91 | 25.74 | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Se 206.279 | Se | 2 | Se 206.279 Radial | u | -0.06 | -168.2 | 16.9333 | ppm | -10.87 | 190.31 | 113.14 | 13.08 | > 100.00 | 2.83 | 0.0369 | 12 | 3 | - | Linear | 0.99966 | Fitted | 10 | 0.69062 | 185.9919 | - | [6 empty] | 3 | -293.37 | 50.8 | -262.02 | 0 | 50.8 | 0 | -19.47 | 4.18 | -17.31 | u |  | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Se 206.279 | Se | 1 | Se 206.279 Axial | u | -0.29 | -790.49 | 0 | ppm | -0.7 | 340.77 | 43.11 | 6.65 | > 100.00 | 2.91 | 0.0369 | 12 | 3 | - | Linear | 0.99961 | Fitted | 10 | 14.7253 | 52.8209 | - | [6 empty] | 3 | -403.03 | -1043.63 | -924.8 | 0 | 0 | 0 | 6.86 | -5.64 | -3.32 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | V 292.401 | V | 2 | V 292.401 Radial |  | 0 | 8.09 | 8.0867 | ppm | 160.8 | 0.09 | 1.15 | 1.21 | 0.75 | 4.2 | 0.0369 | 12 | 3 | - | Linear | 0.99983 | Fitted | 10 | 56.1261 | 35039.869 | - | [6 empty] | 3 | 7.99 | 8.09 | 8.18 | 7.99 | 8.09 | 8.18 | 159.58 | 160.82 | 162
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | V 292.401 | V | 1 | V 292.401 Axial | u | -0.03 | -77.05 | 0 | ppm | 82.97 | 10.52 | 13.66 | 24.32 | 29.31 | 4.45 | 0.0369 | 12 | 3 | - | Linear | 0.99982 | Fitted | 10 | 261.0614 | 6256.552 | - | [6 empty] | 3 | -69.26 | -72.87 | -89.02 | 0 | 0 | 0 | 100.97 | 92.63 | 55.3 | u | u | u
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | V 309.310 | V | 1 | V 309.310 Axial |  | 0 | 3.33 | 3.3333 | ppm | 91.69 | 1.2 | 36.14 | 21.54 | 23.5 | 3.31 | 0.0369 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 32.0803 | 48407.6358 | - | [6 empty] | 3 | 2.99 | 2.34 | 4.67 | 2.99 | 2.34 | 4.67 | 85.52 | 73.9 | 115.64
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | V 309.310 | V | 2 | V 309.310 Radial |  | 0 | 8.35 | 8.35 | ppm | 68.5 | 2.74 | 32.88 | 8.97 | 13.09 | 3.56 | 0.0369 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 41.2282 | 8843.2518 | - | [6 empty] | 3 | 10.31 | 9.53 | 5.21 | 10.31 | 9.53 | 5.21 | 74.9 | 72.35 | 58.25
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Zn 202.548 | Zn | 2 | Zn 202.548 Radial |  | Uncal | Uncal | - | ppm | 2531608.53 | - | - | 11245.17 | 0.44 | 7.96 | 0.0369 | 12 | 3 | - | Linear | 0.9994 | Fitted | 10 | 884.6162 | 152744.4764 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 2529677.6 | 2521453.86 | 2543694.13 | Uncal | Uncal | Uncal
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Zn 202.548 | Zn | 1 | Zn 202.548 Axial |  | 15.24 | 41247.81 | 41247.8133 | ppm | 541244.42 | 189.04 | 0.46 | 2470.31 | 0.46 | 4.15 | 0.0369 | 12 | 3 | - | Linear | 0.99991 | Fitted | 10 | 2223.8933 | 35371.6435 | - | [6 empty] | 3 | 41052.37 | 41261.36 | 41429.71 | 41052.37 | 41261.36 | 41429.71 | 538690.34 | 541421.47 | 543621.45
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Zn 334.502 | Zn | 1 | Zn 334.502 Axial |  | 16.08 | 43526.02 | 43526.02 | ppm | 62456.41 | 94.12 | 0.22 | 134.63 | 0.22 | 3.44 | 0.0369 | 12 | 3 | - | Linear | 0.9997 | Fitted | 10 | 195.8894 | 3871.8157 | - | [6 empty] | 3 | 43535.65 | 43427.46 | 43614.95 | 43535.65 | 43427.46 | 43614.95 | 62470.19 | 62315.43 | 62583.62
Sol 18 1-2 | 18 | 1 | 2 | 1:49 | Sample | 2025-01-22 13:31 | Zn 334.502 | Zn | 2 | Zn 334.502 Radial |  | 15.61 | 42262.65 | 42262.6467 | ppm | 14214.33 | 161.29 | 0.38 | 52.66 | 0.37 | 3.51 | 0.0369 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 416.1387 | 883.7232 | - | [6 empty] | 3 | 42076.49 | 42350.76 | 42360.69 | 42076.49 | 42350.76 | 42360.69 | 14153.55 | 14243.1 | 14246.34
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Al 167.019 | Al | 1 | Al 167.019 Axial |  | Uncal | Uncal | - | ppm | 7.15 | - | - | 3.6 | 50.34 | 865.59 | 0.0306 | 12 | 3 | - | Linear | 0.55792 | Fitted | 10 | 5.6214 | 0.024461 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 11.19 | 5.99 | 4.28 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Al 167.019 | Al | 2 | Al 167.019 Radial |  | Uncal | Uncal | - | ppm | 8.9 | - | - | 1.29 | 14.54 | 161.62 | 0.0306 | 12 | 3 | - | Linear | 0.40002 | Fitted | 10 | 2.742 | 0.08094 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 8.66 | 7.74 | 10.29 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Al 396.152 | Al | 1 | Al 396.152 Axial |  | 6.5 | 21272.63 | 21272.63 | ppm | 228409.4 | 30.43 | 0.14 | 321.63 | 0.14 | 2.89 | 0.0306 | 12 | 3 | - | Linear | 0.99946 | Fitted | 10 | 3553.708 | 34593.3466 | - | [6 empty] | 3 | 21289.65 | 21237.5 | 21290.74 | 21289.65 | 21237.5 | 21290.74 | 228589.32 | 228038.07 | 228600.81
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Al 396.152 | Al | 2 | Al 396.152 Radial |  | 6.19 | 20256.54 | 20256.54 | ppm | 23114.5 | 121.83 | 0.6 | 133.23 | 0.58 | 2.25 | 0.0306 | 12 | 3 | - | Linear | 0.99974 | Fitted | 10 | 962.8423 | 3578.9094 | - | [6 empty] | 3 | 20319.52 | 20116.11 | 20333.99 | 20319.52 | 20116.11 | 20333.99 | 23183.37 | 22960.93 | 23199.19
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | As 188.980 | As | 1 | As 188.980 Axial | u | -0.01 | -25.79 | 0 | ppm | 17.93 | 6.19 | 23.99 | 4.99 | 27.85 | 3.36 | 0.0306 | 12 | 3 | - | Linear | 0.99974 | Fitted | 10 | 38.7301 | 2640.2732 | - | [6 empty] | 3 | -19.89 | -25.25 | -32.23 | 0 | 0 | 0 | 22.68 | 18.36 | 12.73 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | As 188.980 | As | 2 | As 188.980 Radial | u | 0 | 10.33 | 17.5433 | ppm | 22.15 | 36.65 | 354.89 | 5.86 | 26.45 | 2.99 | 0.0306 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 20.4967 | 523.035 | - | [6 empty] | 3 | -11.93 | 52.63 | -9.71 | 0 | 52.63 | 0 | 18.59 | 28.91 | 18.94 | u |  | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | As 193.696 | As | 1 | As 193.696 Axial | u | -0.01 | -34.82 | 0 | ppm | 18.78 | 8.74 | 25.09 | 5.65 | 30.1 | 3.37 | 0.0306 | 12 | 3 | - | Linear | 0.99979 | Fitted | 10 | 41.296 | 2116.3476 | - | [6 empty] | 3 | -31.5 | -28.24 | -44.74 | 0 | 0 | 0 | 20.93 | 23.04 | 12.37 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | As 193.696 | As | 2 | As 193.696 Radial | u | -0.01 | -43.88 | 0 | ppm | 3.79 | 24.57 | 56 | 3.56 | 93.76 | 2.94 | 0.0306 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 10.1432 | 473.5871 | - | [6 empty] | 3 | -46.25 | -18.21 | -67.19 | 0 | 0 | 0 | 3.45 | 7.51 | 0.42 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Be 234.861 | Be | 1 | Be 234.861 Axial |  | Uncal | Uncal | - | ppm | 152.36 | - | - | 29.26 | 19.2 | 8.17 | 0.0306 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 143.5817 | 576083.5071 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 185.99 | 132.68 | 138.43 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Be 234.861 | Be | 2 | Be 234.861 Radial |  | Uncal | Uncal | - | ppm | 68.04 | - | - | 27.63 | 40.61 | 4.63 | 0.0306 | 12 | 3 | - | Linear | 0.99993 | Fitted | 10 | 52.0365 | 146149.5128 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 74.35 | 91.96 | 37.79 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Be 313.042 | Be | 2 | Be 313.042 Radial |  | 0 | 0.21 | 0.21333 | ppm | 1092.27 | 0.04 | 18.41 | 44.09 | 4.04 |  | 0.0306 | 12 | 3 | - | Linear | 1 | Fitted | 10 | 852.8261 | 3682130.067 | - | [6 empty] | 3 | 0.17 | 0.23 | 0.24 | 0.17 | 0.23 | 0.24 | 1041.41 | 1115.65 | 1119.76
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Be 313.042 | Be | 1 | Be 313.042 Axial | u | 0 | -0.02 | 0.013333 | ppm | 242.53 | 0.05 | 295.18 | 12.84 | 5.29 | 3.8 | 0.0306 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 246.8811 | 791922.2622 | - | [6 empty] | 3 | 0.04 | -0.07 | -0.02 | 0.04 | 0 | 0 | 256.06 | 230.52 | 241.03 |  | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cd 214.439 | Cd | 1 | Cd 214.439 Axial |  | Uncal | Uncal | - | ppm | 333.39 | - | - | 11.51 | 3.45 | 8.99 | 0.0306 | 12 | 3 | - | Linear | 0.9996 | Fitted | 10 | 81.449 | 120190.0615 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 327.6 | 346.65 | 325.93 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cd 214.439 | Cd | 2 | Cd 214.439 Radial |  | 0 | 6.49 | 6.4833 | ppm | 62.12 | 0.8 | 12.29 | 5.81 | 9.35 | 3.6 | 0.0306 | 12 | 3 | - | Linear | 0.99992 | Fitted | 10 | 14.851 | 23852.3227 | - | [6 empty] | 3 | 7.09 | 6.78 | 5.58 | 7.09 | 6.78 | 5.58 | 66.53 | 64.28 | 55.54
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cd 361.051 | Cd | 1 | Cd 361.051 Axial | u | -0.07 | -221.84 | 0 | ppm | 56.79 | 16 | 7.21 | 10.62 | 18.7 | 2.25 | 0.0306 | 12 | 3 | - | Linear | 0.99974 | Fitted | 10 | 203.9974 | 2171.6829 | - | [6 empty] | 3 | -212.02 | -213.2 | -240.31 | 0 | 0 | 0 | 63.31 | 62.53 | 44.54 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cd 361.051 | Cd | 2 | Cd 361.051 Radial | u | -0.29 | -951.13 | 0 | ppm | 33.5 | 127.7 | 13.43 | 15.26 | 45.54 | 1.85 | 0.0306 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 147.136 | 390.9998 | - | [6 empty] | 3 | -998.19 | -1048.62 | -806.58 | 0 | 0 | 0 | 27.88 | 21.86 | 50.77 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Co 228.615 | Co | 2 | Co 228.615 Radial |  | Uncal | Uncal | - | ppm | 6.73 | - | - | 7.29 | > 100.00 | 5.91 | 0.0306 | 12 | 3 | - | Linear | 0.99988 | Fitted | 10 | 12.7082 | 17048.729 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 7.53 | 13.59 | -0.93 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Co 228.615 | Co | 1 | Co 228.615 Axial | u | -0.08 | -248.3 | 0 | ppm | 9.97 | 5.25 | 2.12 | 4.88 | 48.96 | 3.77 | 0.0306 | 12 | 3 | - | Linear | 0.99983 | Fitted | 10 | 240.6234 | 3040.1779 | - | [6 empty] | 3 | -242.27 | -251.88 | -250.76 | 0 | 0 | 0 | 15.57 | 6.64 | 7.69 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Co 230.786 | Co | 2 | Co 230.786 Radial |  | Uncal | Uncal | - | ppm | 32.8 | - | - | 6.71 | 20.46 | 5.96 | 0.0306 | 12 | 3 | - | Linear | 0.9998 | Fitted | 10 | 29.8441 | 27310.5058 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 39.88 | 32 | 26.53 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Co 230.786 | Co | 1 | Co 230.786 Axial | u | -0.25 | -826.28 | 0 | ppm | 17.18 | 1 | 0.12 | 1.45 | 8.44 | 2.11 | 0.0306 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 1214.6146 | 4742.8024 | - | [6 empty] | 3 | -827.01 | -825.14 | -826.69 | 0 | 0 | 0 | 16.13 | 18.83 | 16.58 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cr 267.716 | Cr | 1 | Cr 267.716 Axial |  | 0.01 | 30.29 | 30.2967 | ppm | 812.12 | 1.27 | 4.2 | 27.88 | 3.43 | 3.73 | 0.0306 | 12 | 3 | - | Linear | 0.9998 | Fitted | 10 | 148.8496 | 71656.5273 | - | [6 empty] | 3 | 31.75 | 29.37 | 29.77 | 31.75 | 29.37 | 29.77 | 843.91 | 791.82 | 800.61
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cr 267.716 | Cr | 2 | Cr 267.716 Radial |  | 0.01 | 25.21 | 25.2067 | ppm | 180.83 | 1.36 | 5.4 | 5.49 | 3.04 | 2.75 | 0.0306 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 79.1141 | 13205.3466 | - | [6 empty] | 3 | 25.8 | 23.65 | 26.17 | 25.8 | 23.65 | 26.17 | 183.22 | 174.54 | 184.72
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cr 283.563 | Cr | 2 | Cr 283.563 Radial |  | 0.01 | 32.2 | 32.2 | ppm | 1228.11 | 0.62 | 1.93 | 15.83 | 1.29 | 3.23 | 0.0306 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 408.9397 | 83247.9204 | - | [6 empty] | 3 | 31.55 | 32.79 | 32.26 | 31.55 | 32.79 | 32.26 | 1211.59 | 1243.14 | 1229.6
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cr 283.563 | Cr | 1 | Cr 283.563 Axial |  | 0 | 14.24 | 14.24 | ppm | 213.52 | 4.16 | 29.21 | 20.88 | 9.78 | 4.56 | 0.0306 | 12 | 3 | - | Linear | 0.99983 | Fitted | 10 | 142.0259 | 16427.0682 | - | [6 empty] | 3 | 16.01 | 9.49 | 17.22 | 16.01 | 9.49 | 17.22 | 222.41 | 189.66 | 228.48
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cu 324.754 | Cu | 2 | Cu 324.754 Radial |  | 0.01 | 17.81 | 17.8033 | ppm | 707.77 | 0.96 | 5.37 | 12.69 | 1.79 | 4.38 | 0.0306 | 12 | 3 | - | Linear | 0.9998 | Fitted | 10 | 471.3794 | 43446.5898 | - | [6 empty] | 3 | 16.72 | 18.53 | 18.16 | 16.72 | 18.53 | 18.16 | 693.4 | 717.44 | 712.47
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cu 324.754 | Cu | 1 | Cu 324.754 Axial | u | 0 | -13.75 | 0 | ppm | 30.97 | 7.91 | 57.53 | 14.97 | 48.32 | 3.21 | 0.0306 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 56.9919 | 6190.4528 | - | [6 empty] | 3 | -17.24 | -4.7 | -19.32 | 0 | 0 | 0 | 24.37 | 48.11 | 20.44 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cu 327.395 | Cu | 1 | Cu 327.395 Axial |  | 0 | 13.75 | 13.7533 | ppm | 268.32 | 2.99 | 21.73 | 40.47 | 15.08 | 3.65 | 0.0306 | 12 | 3 | - | Linear | 0.99978 | Fitted | 10 | 82.0941 | 44316.0555 | - | [6 empty] | 3 | 13.62 | 16.81 | 10.83 | 13.62 | 16.81 | 10.83 | 266.52 | 309.67 | 228.79
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Cu 327.395 | Cu | 2 | Cu 327.395 Radial | u | 0 | -4.76 | 0 | ppm | 55.13 | 1.63 | 34.2 | 3.28 | 5.95 | 3.68 | 0.0306 | 12 | 3 | - | Linear | 0.99978 | Fitted | 10 | 64.7162 | 6588.6955 | - | [6 empty] | 3 | -2.94 | -5.28 | -6.07 | 0 | 0 | 0 | 58.8 | 54.08 | 52.5 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Fe 238.204 | Fe | 1 | Fe 238.204 Axial |  | 1.15 | 3774.04 | 3774.04 | ppm | 90255.91 | 11.56 | 0.31 | 232.21 | 0.26 | 3.25 | 0.0306 | 12 | 3 | - | Linear | 0.99991 | Fitted | 10 | 14446.7222 | 65739.3204 | - | [6 empty] | 3 | 3785.73 | 3762.61 | 3773.78 | 3785.73 | 3762.61 | 3773.78 | 90490.64 | 90026.31 | 90250.76
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Fe 238.204 | Fe | 2 | Fe 238.204 Radial |  | Uncal | Uncal | - | ppm | 16774.1 | - | - | 110.79 | 0.66 | 1.74 | 0.0306 | 12 | 3 | - | Linear | 0.99869 | Fitted | 10 | 3974.6213 | 12155.7791 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 16900.61 | 16727.33 | 16694.37 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Fe 261.187 | Fe | 1 | Fe 261.187 Axial |  | 1.17 | 3827.68 | 3827.68 | ppm | 15100.84 | 23.68 | 0.62 | 77.8 | 0.52 | 2.8 | 0.0306 | 12 | 3 | - | Linear | 0.99988 | Fitted | 10 | 2525.3464 | 10752.2435 | - | [6 empty] | 3 | 3849.21 | 3802.32 | 3831.51 | 3849.21 | 3802.32 | 3831.51 | 15171.57 | 15017.52 | 15113.43
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Fe 261.187 | Fe | 2 | Fe 261.187 Radial |  | Uncal | Uncal | - | ppm | 2706.26 | - | - | 25.68 | 0.95 | 1.57 | 0.0306 | 12 | 3 | - | Linear | 0.9987 | Fitted | 10 | 692.4658 | 1904.2052 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 2733.36 | 2682.28 | 2703.15 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Hg 184.887 | Hg | 2 | Hg 184.887 Radial |  | Uncal | Uncal | - | ppm | 86.36 | - | - | 3.64 | 4.22 | 3063.06 | 0.0306 | 12 | 3 | - | Linear | -0.33016 | Fitted | 10 | 45.1172 | 0.10468 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 82.78 | 86.25 | 90.06 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Hg 184.887 | Hg | 1 | Hg 184.887 Axial |  | Uncal | Uncal | - | ppm | 68.81 | - | - | 5 | 7.27 | 827.82 | 0.0306 | 12 | 3 | - | Linear | 0.32756 | Fitted | 10 | 78.2338 | 0.15891 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 73.64 | 63.65 | 69.15 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Hg 253.652 | Hg | 1 | Hg 253.652 Axial | u | 0.06 | 200.07 | 355.6767 | ppm | 37.4 | 621.4 | 310.6 | 24.32 | 65.01 | 1.35 | 0.0306 | 12 | 3 | - | Linear | 0.99998 | Off-Peak Left | 10 | 29.5734 | 128.0611 | - | [6 empty] | 3 | -466.83 | 762.8 | 304.23 | 0 | 762.8 | 304.23 | 11.31 | 59.42 | 41.48 | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Hg 253.652 | Hg | 2 | Hg 253.652 Radial | u | -0.27 | -872.66 | 68.6933 | ppm | 16.02 | 1100.17 | 126.07 | 12.44 | 77.68 | 2.91 | 0.0306 | 12 | 3 | - | Linear | 0.9997 | Fitted | 10 | 25.8867 | 37.0113 | - | [6 empty] | 3 | -830.98 | -1993.08 | 206.08 | 0 | 0 | 206.08 | 16.49 | 3.35 | 28.22 | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Mn 257.610 | Mn | 2 | Mn 257.610 Radial |  | 0.02 | 75.41 | 75.4133 | ppm | 9258.28 | 0.5 | 0.67 | 56.87 | 0.61 | 7.23 | 0.0306 | 12 | 3 | - | Linear | 0.99958 | Fitted | 10 | 745.9647 | 369408.5582 | - | [6 empty] | 3 | 75.95 | 74.95 | 75.34 | 75.95 | 74.95 | 75.34 | 9318.88 | 9206.07 | 9249.88
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Mn 257.610 | Mn | 1 | Mn 257.610 Axial |  | 0.01 | 29.46 | 29.4633 | ppm | 1593.06 | 1.25 | 4.24 | 25.37 | 1.59 | 2.37 | 0.0306 | 12 | 3 | - | Linear | 0.99987 | Fitted | 10 | 994.0714 | 66535.8896 | - | [6 empty] | 3 | 30.7 | 28.2 | 29.49 | 30.7 | 28.2 | 29.49 | 1618.15 | 1567.41 | 1593.63
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Mn 260.568 | Mn | 1 | Mn 260.568 Axial |  | 0.02 | 70.35 | 70.3533 | ppm | 1275.2 | 0.56 | 0.79 | 9.14 | 0.72 | 5.08 | 0.0306 | 12 | 3 | - | Linear | 0.99978 | Fitted | 10 | 117.1546 | 53870.0225 | - | [6 empty] | 3 | 69.76 | 70.86 | 70.44 | 69.76 | 70.86 | 70.44 | 1265.44 | 1283.55 | 1276.61
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Mn 260.568 | Mn | 2 | Mn 260.568 Radial | u | -0.2 | -649.95 | 0 | ppm | 234.44 | 1.36 | 0.21 | 4.2 | 1.79 | 2.68 | 0.0306 | 12 | 3 | - | Linear | 0.99976 | Fitted | 10 | 2248.5168 | 10141.6382 | - | [6 empty] | 3 | -649.58 | -651.45 | -648.81 | 0 | 0 | 0 | 235.58 | 229.78 | 237.96 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Ni 216.555 | Ni | 1 | Ni 216.555 Axial |  | 0.01 | 20.02 | 20.0167 | ppm | 165.09 | 1.66 | 8.32 | 10.46 | 6.33 | 3.9 | 0.0306 | 12 | 3 | - | Linear | 0.99986 | Fitted | 10 | 39.3429 | 20559.9337 | - | [6 empty] | 3 | 20.73 | 21.21 | 18.11 | 20.73 | 21.21 | 18.11 | 169.58 | 172.56 | 153.14
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Ni 216.555 | Ni | 2 | Ni 216.555 Radial | u | -0.1 | -328.44 | 0 | ppm | 48.08 | 3.05 | 0.93 | 3.81 | 7.92 | 3.77 | 0.0306 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 457.4515 | 4079.2059 | - | [6 empty] | 3 | -331.06 | -329.17 | -325.09 | 0 | 0 | 0 | 44.81 | 47.16 | 52.26 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Ni 231.604 | Ni | 2 | Ni 231.604 Radial |  | 0.01 | 22.15 | 22.1467 | ppm | 198.06 | 2.04 | 9.22 | 13.35 | 6.74 | 5.51 | 0.0306 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 53.3177 | 21390.6472 | - | [6 empty] | 3 | 24.49 | 20.75 | 21.2 | 24.49 | 20.75 | 21.2 | 213.38 | 188.91 | 191.91
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Ni 231.604 | Ni | 1 | Ni 231.604 Axial | u | 0 | 6.06 | 6.4767 | ppm | 39.98 | 6.78 | 111.84 | 7.98 | 19.96 | 3.89 | 0.0306 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 32.8479 | 3851.4429 | - | [6 empty] | 3 | 12.16 | 7.27 | -1.24 | 12.16 | 7.27 | 0 | 47.16 | 41.4 | 31.39 |  |  | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Pb 182.143 | Pb | 2 | Pb 182.143 Radial |  | 0.1 | 336.02 | 336.0167 | ppm | 119.14 | 29.3 | 8.72 | 4.73 | 3.97 | 3.84 | 0.0306 | 12 | 3 | - | Linear | 0.99905 | Fitted | 10 | 64.873 | 528.5649 | - | [6 empty] | 3 | 335.97 | 365.34 | 306.74 | 335.97 | 365.34 | 306.74 | 119.13 | 123.88 | 114.41
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Pb 182.143 | Pb | 1 | Pb 182.143 Axial |  | Uncal | Uncal | - | ppm | 42.06 | - | - | 2.93 | 6.98 | 5.65 | 0.0306 | 12 | 3 | - | Linear | 0.99877 | Fitted | 10 | 45.6068 | 40.2136 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 42.29 | 39.01 | 44.86 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Pb 220.353 | Pb | 1 | Pb 220.353 Axial |  | 0.03 | 86.95 | 86.9433 | ppm | 205.18 | 3.69 | 4.24 | 7.17 | 3.5 | 3.42 | 0.0306 | 12 | 3 | - | Linear | 0.99984 | Fitted | 10 | 35.9128 | 6371.2688 | - | [6 empty] | 3 | 83.5 | 90.83 | 86.5 | 83.5 | 90.83 | 86.5 | 198.48 | 212.74 | 204.31
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Pb 220.353 | Pb | 2 | Pb 220.353 Radial | u | -0.07 | -237.73 | 0 | ppm | 51.5 | 14.8 | 6.23 | 5.28 | 10.24 | 3.72 | 0.0306 | 12 | 3 | - | Linear | 0.9999 | Fitted | 10 | 136.2308 | 1166.4306 | - | [6 empty] | 3 | -234.76 | -253.79 | -224.63 | 0 | 0 | 0 | 52.56 | 45.78 | 56.17 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Se 196.026 | Se | 1 | Se 196.026 Axial | u | -0.02 | -53.96 | 0 | ppm | 29.92 | 2.25 | 4.18 | 1.7 | 5.67 | 2.89 | 0.0306 | 12 | 3 | - | Linear | 0.99972 | Fitted | 10 | 70.535 | 2462.9554 | - | [6 empty] | 3 | -52.12 | -53.29 | -56.48 | 0 | 0 | 0 | 31.31 | 30.43 | 28.03 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Se 196.026 | Se | 2 | Se 196.026 Radial | u | -0.01 | -40.38 | 0 | ppm | 13.66 | 13.69 | 33.9 | 2.53 | 18.52 | 2.84 | 0.0306 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 21.1193 | 604.678 | - | [6 empty] | 3 | -37.96 | -55.12 | -28.07 | 0 | 0 | 0 | 14.11 | 10.94 | 15.93 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Se 206.279 | Se | 2 | Se 206.279 Radial | u | 0.01 | 21.75 | 38.7767 | ppm | 1.93 | 74.58 | 342.86 | 4.24 | > 100.00 | 2.83 | 0.0306 | 12 | 3 | - | Linear | 0.99966 | Fitted | 10 | 0.69062 | 185.9919 | - | [6 empty] | 3 | 18.36 | -51.08 | 97.97 | 18.36 | 0 | 97.97 | 1.73 | -2.21 | 6.26 |  | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Se 206.279 | Se | 1 | Se 206.279 Axial | u | -0.21 | -677.37 | 0 | ppm | 3.79 | 431.05 | 63.64 | 6.96 | > 100.00 | 2.91 | 0.0306 | 12 | 3 | - | Linear | 0.99961 | Fitted | 10 | 14.7253 | 52.8209 | - | [6 empty] | 3 | -380.85 | -479.42 | -1171.84 | 0 | 0 | 0 | 8.58 | 6.99 | -4.19 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | V 292.401 | V | 2 | V 292.401 Radial |  | 0 | 6.26 | 6.2567 | ppm | 123.12 | 1.11 | 17.69 | 11.85 | 9.63 | 4.2 | 0.0306 | 12 | 3 | - | Linear | 0.99983 | Fitted | 10 | 56.1261 | 35039.869 | - | [6 empty] | 3 | 5.51 | 7.53 | 5.73 | 5.51 | 7.53 | 5.73 | 115.11 | 136.73 | 117.51
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | V 292.401 | V | 1 | V 292.401 Axial | u | -0.03 | -105.32 | 0 | ppm | 59.71 | 1.65 | 1.57 | 3.16 | 5.29 | 4.45 | 0.0306 | 12 | 3 | - | Linear | 0.99982 | Fitted | 10 | 261.0614 | 6256.552 | - | [6 empty] | 3 | -103.54 | -106.81 | -105.62 | 0 | 0 | 0 | 63.12 | 56.88 | 59.14 | u | u | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | V 309.310 | V | 1 | V 309.310 Axial |  | 0 | 6.98 | 6.98 | ppm | 135.3 | 0.49 | 7.05 | 7.27 | 5.37 | 3.31 | 0.0306 | 12 | 3 | - | Linear | 0.99989 | Fitted | 10 | 32.0803 | 48407.6358 | - | [6 empty] | 3 | 6.64 | 6.76 | 7.54 | 6.64 | 6.76 | 7.54 | 130.27 | 132 | 143.64
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | V 309.310 | V | 2 | V 309.310 Radial | u | 0 | 4.22 | 4.4533 | ppm | 52.64 | 4.61 | 109.23 | 12.46 | 23.68 | 3.56 | 0.0306 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 41.2282 | 8843.2518 | - | [6 empty] | 3 | 4.91 | -0.7 | 8.45 | 4.91 | 0 | 8.45 | 54.5 | 39.35 | 64.07 |  | u
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Zn 202.548 | Zn | 2 | Zn 202.548 Radial |  | Uncal | Uncal | - | ppm | 2325536.5 | - | - | 6339.88 | 0.27 | 7.96 | 0.0306 | 12 | 3 | - | Linear | 0.9994 | Fitted | 10 | 884.6162 | 152744.4764 | - | [6 empty] | 3 | Uncal | Uncal | Uncal | Uncal | Uncal | Uncal | 2322000.43 | 2321753.29 | 2332855.77 | Uncal | Uncal | Uncal
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Zn 202.548 | Zn | 1 | Zn 202.548 Axial |  | 13.99 | 45795.92 | 45795.92 | ppm | 497186.27 | 295.67 | 0.65 | 3195.55 | 0.64 | 4.15 | 0.0306 | 12 | 3 | - | Linear | 0.99991 | Fitted | 10 | 2223.8933 | 35371.6435 | - | [6 empty] | 3 | 45867.88 | 45470.92 | 46048.96 | 45867.88 | 45470.92 | 46048.96 | 497964 | 493673.64 | 499921.18
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Zn 334.502 | Zn | 1 | Zn 334.502 Axial |  | 14.66 | 47983.72 | 47983.7233 | ppm | 56963.26 | 93.62 | 0.2 | 110.75 | 0.19 | 3.44 | 0.0306 | 12 | 3 | - | Linear | 0.9997 | Fitted | 10 | 195.8894 | 3871.8157 | - | [6 empty] | 3 | 48028.07 | 47876.17 | 48046.93 | 48028.07 | 47876.17 | 48046.93 | 57015.72 | 56836.03 | 57038.04
Sol 18 1-3 | 18 | 1 | 3 | 1:50 | Sample | 2025-01-22 13:34 | Zn 334.502 | Zn | 2 | Zn 334.502 Radial |  | 14.2 | 46476.11 | 46476.11 | ppm | 12965.92 | 229.61 | 0.49 | 62 | 0.48 | 3.51 | 0.0306 | 12 | 3 | - | Linear | 0.99981 | Fitted | 10 | 416.1387 | 883.7232 | - | [6 empty] | 3 | 46583.12 | 46212.53 | 46632.68 | 46583.12 | 46212.53 | 46632.68 | 12994.82 | 12894.75 | 13008.2
Columns A-D
Sample week, Location (1-3), replicate (1-3)
Columns H-K
Element and wavelength being looked at
2 methods were used
Column K is the 3 bits of info combined
Columns M-P
M: Numbers straight from the machine
N: Numbers adjusted by the machine relating to Columns W-Y
O: Manually adjusted related to AO-AT with -ve numbers lifted to 0
Columns AR-AT
Replicates from the manchine with the -ves lifted to 0, used to give Column O
Columns AO-AQ
The replicates from the machine, averaged to give Column M

## Particulate Matter
Week | Date | A1 | A2 | A3 | A4 | A5 | S1
3-1 | 03/06/2024 | 20964735 | 18783746 | 17196749 | 14589682 | 14113216
3-2 | 04/06/2024 | 63920919 | 50263604 | 38092721 | 39641201 | 38526007
4-1 | 10/06/2024 | #N/A | 6841413 | 6069046 | 7781131 | 6284099 | 9116890
4-2 | 11/06/2024 | 5728763 | 5662332 | 14279081 | 7008551 | 6214488 | #N/A
5-1 | 17/06/2024 | 20548127 | 9315760 | 12169117 | 7802191 | 7428693 | 7635901
5-2 | 18/06/2024 | 27535760 | 27436042 | 28550954 | #N/A | 21818940 | #N/A
Week - Sampling week, 2 visits hence -1 and -2
A1-A5 - air sampling locations
S1 - Air sampling alongside water sampling
Data presented in count/m3